## Slide 1
Critical Alarm Monitoring
<MSP NAME>

## Slide 2
On-boarding Schedule & Timelines - NOC
Week 1
Phase 1 - Kick-Off Call
Week 2 & 3
Week 4
Phase 2 – Scope of Work Review along with Standard Operating Procedures Lockdown
Phase 3 – Finalizing Processes & Initiating Operation
Change/Modification Implementation based on best practices on the Alert/Monitor Sets
Validation on Credentials & Access to MSP IT
Review Meeting (1 hour, end of week 3)
Follow-up Meeting to capture final touch-ups
Credential hand-off
Initiate Environment Review along with MSP IT Documentation (if available)
Subsequent Meeting Scheduling
Review on current alert setup/categories and identify different Severity Alerts
Review RMM/Network Monitoring Tool – RMM Alerting / Alert Sets utilizing <RMM>
Finalizing SOP and take any modifications recommended by MSP IT Team
Initiate Operating with Alerting Handling across all Alert Categories (1 hour, end of week 4)
Initiate Monitoring and Alert handling on Low & Medium Priority Tickets at the end of the week 3

## Slide 3
On-boarding – Prerequisites
  Environment Access Requirements
  Pronoc@ Email Address on the MSP Domain
  Admin Access on Partner RMM or other Endpoint Management Platform
  List of Managed Clients and Servers, Or Access to the existing Virtualization Portal to fetch the list of the Managed Clients/Servers/Workstations
  Documentation Portal Access
  Standard Alert/Notification Documentation
  Domain Administrator Account on all End-Client Domains with Account Name “ProNoc”
  Maintenance Windows along with Reboot specifications during Implementation/Remediation
  Client Exceptions or specific instructions, if
  POC and Contact Numbers including afterhours and business hours On-call contact information
  Access to PSA / Ticketing Platform
  Meeting Cadence and Scheduling for Onboarding Process and Recurring Service

## Slide 4
Alert Handling Procedure
Server Offline(Physical/Virtual)
Site Outage/ISP Outage
Disk Space Alarm Handling

## Slide 5: Server Offline/Packet loss
Steps for Physical machine Alerts:
Check the machine status in monitoring tool.
If machine is offline, check for maintenance notification if any. If you see the maintenance notification, then move the ticket to On Call bucket.
If machine is showing offline/packet loss in monitoring tool, then take remote desktop of another machine on the same network ping the impacted machine.
If you get full packet response then it should be the monitoring issue, restart the Automate agent service in machine.
For machine showing 100% packet loss, search the machine configuration in SharePoint and look for ILO/IDRAC/RSA configuration.
Take remote desktop of other machine of same network, access ILO/IDRAC/RSA through browser and check the machine status.
If the machine status is powered off and there is no maintenance notice, Power On the machine.
Verify the status of the machine in RMM and close the ticket accordingly.
If you’re not able to resolve the issue, then escalate it to the On-Call Engineer at the same time.
Critical Alarm Monitoring - Onboarding

## Slide 6
Critical Alarm Monitoring - Onboarding
  Service Outage/Circuit Down/Internet Outage/Network Offline
Steps to handle the outages
  Packet loss alert received in CW
  Check-in Monitoring tool for packet loss, if the packet loss is normal then put the ticket in monitoring.
  Take follow up after every 4 hours, if the packet loss is normal from past 12 hours, then close the ticket.
  If the device is showing 100% loss, then take RDP of another server of the same network and ping the device IP.
  If you see 100% packet loss, then check for the other devices at the same location.
  If other devices are up, then there is a chance of an issue with a specific device.
  If other devices are also down, then check for the Public IP/WAN IP/Gateway IP and ping them.
  If you get RTO then there is the possibility to have an issue from ISP, log a ticket with them.
  If you get full packet response from Public IP/WAN IP/GatewayIP then there would be a Power/Wiring issue.
  Check for the quiet time, If there is no quite time then escalate to on-call Engineer and proceed as instructed.

## Slide 7: Server Offline/Packet loss
Steps for Virtual Machine Alerts
Check the machine status in monitoring tool.
If machine is offline, check for maintenance notification if any. If you see the maintenance notification, then move the ticket to On Call bucket.
Take remote desktop of another machine on the same network ping the impacted machine.
If you get full packet response then it should be the monitoring issue, restart the Automate agent service in machine.
If the machine is offline, check the machine configuration if it is VMware/Azure/AWS hosted.
If it is VMware hosted, Login into the ESXi/vCenter and look the status of the machine. If machine is offline, then check the Task/Events for events of this machine.
If it is Azure/AWS hosted, then access the portal and check the status of the machine.
If it is offline, Power On the machine.
If machine was powered off by any specific user, then move the ticket to On Call bucket.
If it is not so, Powered on the machine and close the ticket.
If you’re not able to resolve the issue, then escalate it to the On-Call Engineer at the same time.
Critical Alarm Monitoring - Onboarding

## Slide 8
Critical Alarm Monitoring - Onboarding
  Service Outage/Circuit Down/Internet Outage/Network Offline
ISP Handling
  Check Automate and confirm if the site is down.
  Extract the account number of the site through ConnectWise.
  Check the ISP contact information and contact via Mitel on the details of the service provided.
  After connecting ISP explain the site down scenario and take the ISP Ticket number before wrapping up the call.
  Follow-up with the ISP every hour 2 - 3 times to get the ETA and keep the ticket in 3rd Party pending status.

## Slide 9: Disk Space alarm handling
For System drive(C: ) where the space is below 5 GB or 3% or lesser.
• Validate the alert.
• Do the clean-up (Temp, %temp%, Software distribution and Recycle Bin)
• If the alert still exists run the Portable version of WinDirStat utility on the server to check the space utilization and mention the folders which are consuming most of the space.
• Problem not resolved, add notes on the consumption of folders on the Ticket and escalate it to the client.
For all other drives where the space is below 10 GB or 3% or lesser.
• Validate the alert.
• If the alert still exists, Run the Portable version of WinDirStat utility on the server to check the space utilization and mention the folders which are consuming most of the space.
• Add notes on the consumption of folders and escalate it to the client.
Critical Alarm Monitoring - Onboarding

## Slide 10
Critical Alarm Monitoring - Onboarding
  Questionnaire on Alerting and handling process
Reset on a Server [VM] when the Server is found to be in hung state
Credentials are not working of ESXi Host/vCenter/iDrac/ILO
Process on communicating the maintenance notification
If some other user logged in to the server, can we chat and ask for permission
Can we reset the NIC adapter reset or not in case of connectivity issue on the server(VM)
Requirement of maintenance window/management policy to reboot the server
Do we have authority to start dependency services and can modify the startup type of the service
In case the service will not start due to an error, can we troubleshoot it or just escalate to your bucket
Automate agent reinstallation permission
In case of ISP engagement, help us with circuit IP/WAN IP, Account number , address , phone number, authentication pin (if needed), LCON details
Do we need to follow up with ISP once we escalate the ticket to your board?

## Slide 11
  Thank you